## Philips_EPIQAffiniti_V5.0_DICOM
EPIQ/Affiniti What's New for V5.0
Template | App | Label | ResultLabel | Type | internalId | internal Result Id | laterality | hashcode | Finding Site | Concept | Units | Mode | Phase | Method
Adult Echocardiography Procedure Report | Adult Echo | 2D | RV FAC | meas | m_RVHM_2D | r_TT_RV_FAC | unilateral | 125200\C12204-03\C12228-13\G-03A2\T-32500 | SRT, T-32500, Right Ventricle | 99PMSBLUS, C12204-03, Right Ventricular Fractional Area Change | UCUM, %, Percent | SRT, G-03A2, 2D mode |  | 99PMSBLUS, C12228-13, 3D AUTO RV
Adult Echocardiography Procedure Report | Adult Echo | 2D | RVLS Freewall | meas | m_RVHM_2D | r_TT_RV_LS_FREEWALL | unilateral | 125200\C12204-24\C12228-13\G-03A2\T-32500 | SRT, T-32500, Right Ventricle | 99PMSBLUS, C12204-24, Right Ventricular Freewall Longitudinal Strain | UCUM, %, Percent | SRT, G-03A2, 2D mode |  | 99PMSBLUS, C12228-13, 3D AUTO RV
Adult Echocardiography Procedure Report | Adult Echo | 2D | RVLS Septum | meas | m_RVHM_2D | r_TT_RV_LS_SEPTUM | unilateral | 125200\C12204-23\C12228-13\G-03A2\T-32500 | SRT, T-32500, Right Ventricle | 99PMSBLUS, C12204-23, Right Ventricular Septum Longitudinal Strain | UCUM, %, Percent | SRT, G-03A2, 2D mode |  | 99PMSBLUS, C12228-13, 3D AUTO RV
Adult Echocardiography Procedure Report | Adult Echo | 2D | RVD base ED | meas | m_RVHM_2D | r_TT_RV_RVDD_BASE_ED | unilateral | 125200\C12204-20\C12228-13\G-03A2\R-FAB5C\T-32500 | SRT, T-32500, Right Ventricle | 99PMSBLUS, C12204-20, Right Ventricular Basal Diameter at End Diastole | UCUM, mm, mm | SRT, G-03A2, 2D mode | SRT, R-FAB5C, End Diastole | 99PMSBLUS, C12228-13, 3D AUTO RV
Adult Echocardiography Procedure Report | Adult Echo | 2D | RVD mid cavity ED | meas | m_RVHM_2D | r_TT_RV_RVDD_MID_ED | unilateral | 125200\C12204-21\C12228-13\G-03A2\R-FAB5C\T-32500 | SRT, T-32500, Right Ventricle | 99PMSBLUS, C12204-21, Right Ventricular Mid Cavity Diameter at End Diastole | UCUM, mm, mm | SRT, G-03A2, 2D mode | SRT, R-FAB5C, End Diastole | 99PMSBLUS, C12228-13, 3D AUTO RV
Adult Echocardiography Procedure Report | Adult Echo | 2D | RV length ED | meas | m_RVHM_2D | r_TT_RV_RVLD_ED | unilateral | 125200\C12204-22\C12228-13\G-03A2\R-FAB5C\T-32500 | SRT, T-32500, Right Ventricle | 99PMSBLUS, C12204-22, Right Ventricular Base to Apex Length at End Diastole | UCUM, mm, mm | SRT, G-03A2, 2D mode | SRT, R-FAB5C, End Diastole | 99PMSBLUS, C12228-13, 3D AUTO RV
Adult Echocardiography Procedure Report | Adult Echo | 2D | TAPSE | meas | m_RVHM_2D | r_TT_RV_TAPSE | unilateral | 125200\C12208-11\C12228-13\G-03A2\T-32500 | SRT, T-32500, Right Ventricle | 99PMSBLUS, C12208-11, Tricuspid Annular Plane Systolic Excursion | UCUM, mm, mm | SRT, G-03A2, 2D mode |  | 99PMSBLUS, C12228-13, 3D AUTO RV
Adult Echocardiography Procedure Report | Adult Echo | ANNULUS Calculation | MV Sphericity Index (MVA) | meas | m_MVA_ANNULUS_CALC | r_TT_MVA_SPHER_IDX | unilateral | 125200\C12207-51\C12228-14\P0-02242\T-35300 | SNM3, T-35300, Mitral Valve | 99PMSBLUS, C12207-51, Mitral Valve Spherical Index | UCUM, 1, no units | SRT, P0-02242, 3D mode |  | 99PMSBLUS, C12228-14, MVA
Adult Echocardiography Procedure Report | Adult Echo | ANNULUS Measurements | MV AL-PM Diam (MVA) | meas | m_MVA_ANNULUS_MEAS | r_TT_MVA_AL_PM_DIAM | unilateral | 125200\C12207-08\C12228-14\P0-02242\T-35300 | SNM3, T-35300, Mitral Valve | 99PMSBLUS, C12207-08, Mitral Valve Anterolateral Posteromedial Diameter | UCUM, mm, mm | SRT, P0-02242, 3D mode |  | 99PMSBLUS, C12228-14, MVA
Adult Echocardiography Procedure Report | Adult Echo | ANNULUS Measurements | MV Ann2DArea (MVA) | meas | m_MVA_ANNULUS_MEAS | r_TT_MVA_ANN2D_AREA | unilateral | 125200\C12207-52\C12228-14\G-03A2\T-35300 | SNM3, T-35300, Mitral Valve | 99PMSBLUS, C12207-52, Mitral Valve 2D Annular Area | UCUM, mm2, mm2 | SRT, G-03A2, 2D mode |  | 99PMSBLUS, C12228-14, MVA
Adult Echocardiography Procedure Report | Adult Echo | ANNULUS Measurements | MV Ann3DArea (MVA) | meas | m_MVA_ANNULUS_MEAS | r_TT_MVA_ANN3D_AREA | unilateral | 125200\C12207-26\C12228-14\P0-02242\T-35300 | SNM3, T-35300, Mitral Valve | 99PMSBLUS, C12207-26, Mitral Valve 3D Annular Area | UCUM, mm2, mm2 | SRT, P0-02242, 3D mode |  | 99PMSBLUS, C12228-14, MVA
Adult Echocardiography Procedure Report | Adult Echo | ANNULUS Measurements | MV AnnulusCirc (MVA) | meas | m_MVA_ANNULUS_MEAS | r_TT_MVA_ANN_CIRC | unilateral | 125200\C12207-09\C12228-14\P0-02242\T-35300 | SNM3, T-35300, Mitral Valve | 99PMSBLUS, C12207-09, Mitral Valve Annulus 3D Circumference | UCUM, mm, mm | SRT, P0-02242, 3D mode |  | 99PMSBLUS, C12228-14, MVA
Adult Echocardiography Procedure Report | Adult Echo | ANNULUS Measurements | MV Ann Height (MVA) | meas | m_MVA_ANNULUS_MEAS | r_TT_MVA_ANN_HEIGHT | unilateral | 125200\C12207-53\C12228-14\P0-02242\T-35300 | SNM3, T-35300, Mitral Valve | 99PMSBLUS, C12207-53, Mitral Valve Annular Height | UCUM, mm, mm | SRT, P0-02242, 3D mode |  | 99PMSBLUS, C12228-14, MVA
Adult Echocardiography Procedure Report | Adult Echo | ANNULUS Measurements | MV AP Diam (MVA) | meas | m_MVA_ANNULUS_MEAS | r_TT_MVA_AP_Diam | unilateral | 125200\C12207-07\C12228-14\P0-02242\T-35300 | SNM3, T-35300, Mitral Valve | 99PMSBLUS, C12207-07, Mitral Valve Anterior Posterior Diameter | UCUM, mm, mm | SRT, P0-02242, 3D mode |  | 99PMSBLUS, C12228-14, MVA
Adult Echocardiography Procedure Report | Adult Echo | ANNULUS Measurements | MV Nonplanar Angle (MVA) | meas | m_MVA_ANNULUS_MEAS | r_TT_MVA_NONPLAN_ANG | unilateral | 125200\C12207-20\C12228-14\P0-02242\T-35300 | SNM3, T-35300, Mitral Valve | 99PMSBLUS, C12207-20, Mitral Valve Nonplanar Angle | UCUM, deg, deg | SRT, P0-02242, 3D mode |  | 99PMSBLUS, C12228-14, MVA
Adult Echocardiography Procedure Report | Adult Echo | COAPTATION | MV A ClLine 2D Length (MVA) | meas | m_MVA_COAPTATION | r_TT_MVA_A_CL_2D | unilateral | 125200\C12207-58\C12228-14\G-03A2\T-35300 | SNM3, T-35300, Mitral Valve | 99PMSBLUS, C12207-58, Mitral Valve Anterior Closure Line Length 2D | UCUM, mm, mm | SRT, G-03A2, 2D mode |  | 99PMSBLUS, C12228-14, MVA
Adult Echocardiography Procedure Report | Adult Echo | COAPTATION | MV A ClLine 3D Length (MVA) | meas | m_MVA_COAPTATION | r_TT_MVA_A_CL_3D | unilateral | 125200\C12207-59\C12228-14\P0-02242\T-35300 | SNM3, T-35300, Mitral Valve | 99PMSBLUS, C12207-59, Mitral Valve Anterior Closure Line Length 3D | UCUM, mm, mm | SRT, P0-02242, 3D mode |  | 99PMSBLUS, C12228-14, MVA
Adult Echocardiography Procedure Report | Adult Echo | COAPTATION | MV P ClLine 2D Length (MVA) | meas | m_MVA_COAPTATION | r_TT_MVA_P_CL_2D | unilateral | 125200\C12207-60\C12228-14\G-03A2\T-35300 | SNM3, T-35300, Mitral Valve | 99PMSBLUS, C12207-60, Mitral Valve Posterior Closure Line Length 2D | UCUM, mm, mm | SRT, G-03A2, 2D mode |  | 99PMSBLUS, C12228-14, MVA
Adult Echocardiography Procedure Report | Adult Echo | COAPTATION | MV P ClLine 3D Length (MVA) | meas | m_MVA_COAPTATION | r_TT_MVA_P_CL_3D | unilateral | 125200\C12207-61\C12228-14\P0-02242\T-35300 | SNM3, T-35300, Mitral Valve | 99PMSBLUS, C12207-61, Mitral Valve Posterior Closure Line Length 3D | UCUM, mm, mm | SRT, P0-02242, 3D mode |  | 99PMSBLUS, C12228-14, MVA
Adult Echocardiography Procedure Report | Adult Echo | Calculation(s) | RV EDVi | meas | m_RVHM_Calcs | r_TT_RV_EDVI | unilateral | 125200\C12204-18\C12228-13\P0-02242\R-FAB5C\T-32500 | SRT, T-32500, Right Ventricle | 99PMSBLUS, C12204-18, Right Ventricular End Diastolic Volume Index | UCUM, ml/m2, ml/m2 | SRT, P0-02242, 3D mode | SRT, R-FAB5C, End Diastole | 99PMSBLUS, C12228-13, 3D AUTO RV
Adult Echocardiography Procedure Report | Adult Echo | Calculation(s) | RV EF | meas | m_RVHM_Calcs | r_TT_RV_EF | unilateral | 125200\C12204-25\C12228-13\P0-02242\T-32500 | SRT, T-32500, Right Ventricle | 99PMSBLUS, C12204-25, Right Ventricular Ejection Fraction | UCUM, %, Percent | SRT, P0-02242, 3D mode |  | 99PMSBLUS, C12228-13, 3D AUTO RV
Adult Echocardiography Procedure Report | Adult Echo | Calculation(s) | RV ESVi | meas | m_RVHM_Calcs | r_TT_RV_ESVI | unilateral | 125200\109070\C12204-19\C12228-13\P0-02242\T-32500 | SRT, T-32500, Right Ventricle | 99PMSBLUS, C12204-19, Right Ventricular End Systolic Volume Index | UCUM, ml/m2, ml/m2 | SRT, P0-02242, 3D mode | DCM, 109070, End Systole | 99PMSBLUS, C12228-13, 3D AUTO RV
Adult Echocardiography Procedure Report | Adult Echo | Calculation(s) | RV SV | meas | m_RVHM_Calcs | r_TT_RV_SV | unilateral | 125200\C12204-26\C12228-13\P0-02242\T-32500 | SRT, T-32500, Right Ventricle | 99PMSBLUS, C12204-26, Right Ventricular Stroke Volume | UCUM, mm3, mm3 | SRT, P0-02242, 3D mode |  | 99PMSBLUS, C12228-13, 3D AUTO RV
Adult Echocardiography Procedure Report | Adult Echo | DYNAMIC MVA | MV Annulus Area Fraction (MVA) | meas | m_MVA_DYNAMIC_MVA | r_TT_MVA_ANN_AREA_F | unilateral | 125200\C12207-67\C12228-14\G-03A2\T-35300 | SNM3, T-35300, Mitral Valve | 99PMSBLUS, C12207-67, Mitral Valve Annulus Area Fraction | UCUM, %, Percent | SRT, G-03A2, 2D mode |  | 99PMSBLUS, C12228-14, MVA
Adult Echocardiography Procedure Report | Adult Echo | DYNAMIC MVA | MV Max Ann Displacement (MVA) | meas | m_MVA_DYNAMIC_MVA | r_TT_MVA_MAX_A_DISP | unilateral | 125200\C12207-64\C12228-14\P0-02242\T-35300 | SNM3, T-35300, Mitral Valve | 99PMSBLUS, C12207-64, Mitral Valve Max Annulus Displacement | UCUM, mm, mm | SRT, P0-02242, 3D mode |  | 99PMSBLUS, C12228-14, MVA
Adult Echocardiography Procedure Report | Adult Echo | DYNAMIC MVA | MV Max Ann Displacement Vel (MVA) | meas | m_MVA_DYNAMIC_MVA | r_TT_MVA_MAX_A_DVEL | unilateral | 125200\C12207-65\C12228-14\P0-02242\T-35300 | SNM3, T-35300, Mitral Valve | 99PMSBLUS, C12207-65, Mitral Valve Annulus Max Displacement Velocity | UCUM, mm/s, mm/s | SRT, P0-02242, 3D mode |  | 99PMSBLUS, C12228-14, MVA
Adult Echocardiography Procedure Report | Adult Echo | DYNAMIC MVA | MV Tenting Volume Fraction (MVA) | meas | m_MVA_DYNAMIC_MVA | r_TT_MVA_TENT_VOL_F | unilateral | 125200\C12207-66\C12228-14\P0-02242\T-35300 | SNM3, T-35300, Mitral Valve | 99PMSBLUS, C12207-66, Mitral Valve Tenting Volume Fraction | UCUM, %, Percent | SRT, P0-02242, 3D mode |  | 99PMSBLUS, C12228-14, MVA
Adult Echocardiography Procedure Report | Adult Echo | LA ED Conduit L Strain | Strain | meas | m_TT_LA_ED_Cond_LS | r_Strain | unilateral | 125200\C12205-17\C12228-15\G-03A2\T-32300 | SRT, T-32300, Left Atrium | 99PMSBLUS, C12205-17, Left Atrium ED Conduit Longitudinal Strain | UCUM, %, Percent | SRT, G-03A2, 2D mode |  | 99PMSBLUS, C12228-15, AutoStrain LA
Adult Echocardiography Procedure Report | Adult Echo | LA ED Contraction L Strain | Strain | meas | m_TT_LA_ED_Contr_LS | r_Strain | unilateral | 125200\C12205-18\C12228-15\G-03A2\T-32300 | SRT, T-32300, Left Atrium | 99PMSBLUS, C12205-18, Left Atrium ED Contraction Longitudinal Strain | UCUM, %, Percent | SRT, G-03A2, 2D mode |  | 99PMSBLUS, C12228-15, AutoStrain LA
Adult Echocardiography Procedure Report | Adult Echo | LA ED Reservoir L Strain | Strain | meas | m_TT_LA_ED_Res_LS | r_Strain | unilateral | 125200\C12205-16\C12228-15\G-03A2\T-32300 | SRT, T-32300, Left Atrium | 99PMSBLUS, C12205-16, Left Atrium ED Reservoir Longitudinal Strain | UCUM, %, Percent | SRT, G-03A2, 2D mode |  | 99PMSBLUS, C12228-15, AutoStrain LA
Adult Echocardiography Procedure Report | Adult Echo | LA PreA Conduit L Strain | Strain | meas | m_TT_LA_PreA_Cond_LS | r_Strain | unilateral | 125200\C12205-20\C12228-15\G-03A2\T-32300 | SRT, T-32300, Left Atrium | 99PMSBLUS, C12205-20, Left Atrium Pre-A Conduit Longitudinal Strain | UCUM, %, Percent | SRT, G-03A2, 2D mode |  | 99PMSBLUS, C12228-15, AutoStrain LA
Adult Echocardiography Procedure Report | Adult Echo | LA PreA Contraction L Strain | Strain | meas | m_TT_LA_PreA_Cont_LS | r_Strain | unilateral | 125200\C12205-21\C12228-15\G-03A2\T-32300 | SRT, T-32300, Left Atrium | 99PMSBLUS, C12205-21, Left Atrium Pre-A Contraction Longitudinal Strain | UCUM, %, Percent | SRT, G-03A2, 2D mode |  | 99PMSBLUS, C12228-15, AutoStrain LA
Adult Echocardiography Procedure Report | Adult Echo | LA PreA Reservoir L Strain | Strain | meas | m_TT_LA_PreA_Res_LS | r_Strain | unilateral | 125200\C12205-19\C12228-15\G-03A2\T-32300 | SRT, T-32300, Left Atrium | 99PMSBLUS, C12205-19, Left Atrium Pre-A Reservoir Longitudinal Strain | UCUM, %, Percent | SRT, G-03A2, 2D mode |  | 99PMSBLUS, C12228-15, AutoStrain LA
Adult Echocardiography Procedure Report | Adult Echo | LEAFLETS | MV A Leaf 3D Area (MVA) | meas | m_MVA_LEAFLETS | r_TT_MVA_A_LEAF3D_AR | unilateral | 125200\C12207-10\C12228-14\P0-02242\T-35300 | SNM3, T-35300, Mitral Valve | 99PMSBLUS, C12207-10, Mitral Valve Anterior Leaflet Area | UCUM, mm2, mm2 | SRT, P0-02242, 3D mode |  | 99PMSBLUS, C12228-14, MVA
Adult Echocardiography Procedure Report | Adult Echo | LEAFLETS | MV A Leaf Length (MVA) | meas | m_MVA_LEAFLETS | r_TT_MVA_A_LEAF_LEN | unilateral | 125200\C12207-56\C12228-14\P0-02242\T-35300 | SNM3, T-35300, Mitral Valve | 99PMSBLUS, C12207-56, Mitral Valve Anterior Leaflet Length | UCUM, mm, mm | SRT, P0-02242, 3D mode |  | 99PMSBLUS, C12228-14, MVA
Adult Echocardiography Procedure Report | Adult Echo | LEAFLETS | MV Comm Diam (MVA) | meas | m_MVA_LEAFLETS | r_TT_MVA_COMM_DIAM | unilateral | 125200\C12207-55\C12228-14\P0-02242\T-35300 | SNM3, T-35300, Mitral Valve | 99PMSBLUS, C12207-55, Mitral Valve Commissural Diameter | UCUM, mm, mm | SRT, P0-02242, 3D mode |  | 99PMSBLUS, C12228-14, MVA
Adult Echocardiography Procedure Report | Adult Echo | LEAFLETS | MV Dist A Leaf Angle (MVA) | meas | m_MVA_LEAFLETS | r_TT_MVA_DA_LEAF_ANG | unilateral | 125200\C12207-18\C12228-14\P0-02242\T-35300 | SNM3, T-35300, Mitral Valve | 99PMSBLUS, C12207-18, Mitral Valve Anterior Leaflet Angle | UCUM, deg, deg | SRT, P0-02242, 3D mode |  | 99PMSBLUS, C12228-14, MVA
Adult Echocardiography Procedure Report | Adult Echo | LEAFLETS | MV P Leaf 3D Area (MVA) | meas | m_MVA_LEAFLETS | r_TT_MVA_P_LEAF3D_AR | unilateral | 125200\C12207-13\C12228-14\P0-02242\T-35300 | SNM3, T-35300, Mitral Valve | 99PMSBLUS, C12207-13, Mitral Valve Posterior Leaflets 3D Area | UCUM, mm2, mm2 | SRT, P0-02242, 3D mode |  | 99PMSBLUS, C12228-14, MVA
Adult Echocardiography Procedure Report | Adult Echo | LEAFLETS | MV Post Leaf Angle (MVA) | meas | m_MVA_LEAFLETS | r_TT_MVA_P_LEAF_ANG | unilateral | 125200\C12207-19\C12228-14\P0-02242\T-35300 | SNM3, T-35300, Mitral Valve | 99PMSBLUS, C12207-19, Mitral Valve Posterior Leaflet Angle | UCUM, deg, deg | SRT, P0-02242, 3D mode |  | 99PMSBLUS, C12228-14, MVA
Adult Echocardiography Procedure Report | Adult Echo | LEAFLETS | MV P Leaf Length (MVA) | meas | m_MVA_LEAFLETS | r_TT_MVA_P_LEAF_LEN | unilateral | 125200\C12207-57\C12228-14\P0-02242\T-35300 | SNM3, T-35300, Mitral Valve | 99PMSBLUS, C12207-57, Mitral Valve Posterior Leaflet Length | UCUM, mm, mm | SRT, P0-02242, 3D mode |  | 99PMSBLUS, C12228-14, MVA
Adult Echocardiography Procedure Report | Adult Echo | LEAFLETS | MV TentArea (MVA) | meas | m_MVA_LEAFLETS | r_TT_MVA_TENT_AREA | unilateral | 125200\C12207-54\C12228-14\P0-02242\T-35300 | SNM3, T-35300, Mitral Valve | 99PMSBLUS, C12207-54, Mitral Valve Tent Area | UCUM, mm2, mm2 | SRT, P0-02242, 3D mode |  | 99PMSBLUS, C12228-14, MVA
Adult Echocardiography Procedure Report | Adult Echo | LEAFLETS | MV TentHeight (MVA) | meas | m_MVA_LEAFLETS | r_TT_MVA_TENT_HEIGHT | unilateral | 125200\C12207-23\C12228-14\P0-02242\T-35300 | SNM3, T-35300, Mitral Valve | 99PMSBLUS, C12207-23, Mitral Valve Tenting Height | UCUM, mm, mm | SRT, P0-02242, 3D mode |  | 99PMSBLUS, C12228-14, MVA
Adult Echocardiography Procedure Report | Adult Echo | LEAFLETS | MV TentVol (MVA) | meas | m_MVA_LEAFLETS | r_TT_MVA_TENT_VOL | unilateral | 125200\C12207-14\C12228-14\P0-02242\T-35300 | SNM3, T-35300, Mitral Valve | 99PMSBLUS, C12207-14, Mitral Valve Tenting Volume | UCUM, mm3, mm3 | SRT, P0-02242, 3D mode |  | 99PMSBLUS, C12228-14, MVA
Adult Echocardiography Procedure Report | Adult Echo | MISC | MV Ao OR-Mitr Ang (MVA) | meas | m_MVA_MISC | r_TT_MVA_AO_OR_M_ANG | unilateral | 125200\C12207-21\C12228-14\P0-02242\T-35300 | SNM3, T-35300, Mitral Valve | 99PMSBLUS, C12207-21, Mitral Valve Aortic Orifice to Mitral Plane Angle | UCUM, deg, deg | SRT, P0-02242, 3D mode |  | 99PMSBLUS, C12228-14, MVA
Adult Echocardiography Procedure Report | Adult Echo | MISC | MV CShaped 3D Ann (MVA) | meas | m_MVA_MISC | r_TT_MVA_CS_3D_ANN | unilateral | 125200\C12207-63\C12228-14\P0-02242\T-35300 | SNM3, T-35300, Mitral Valve | 99PMSBLUS, C12207-63, Mitral Valve C_shaped Annulus | UCUM, mm, mm | SRT, P0-02242, 3D mode |  | 99PMSBLUS, C12228-14, MVA
Adult Echocardiography Procedure Report | Adult Echo | MISC | MV Intertrigonal 3D Dist (MVA) | meas | m_MVA_MISC | r_TT_MVA_IT_3D_DIST | unilateral | 125200\C12207-62\C12228-14\P0-02242\T-35300 | SNM3, T-35300, Mitral Valve | 99PMSBLUS, C12207-62, Mitral Valve Intertrigonal Distance | UCUM, mm, mm | SRT, P0-02242, 3D mode |  | 99PMSBLUS, C12228-14, MVA
Adult Echocardiography Procedure Report | Adult Echo | RV Free wall L Strain | Strain | meas | m_TT_RV_Free_Wall_LS | r_Strain | unilateral | 125200\C12204-27\C12228-16\G-03A2\T-32500 | SRT, T-32500, Right Ventricle | 99PMSBLUS, C12204-27, Right Ventricle Free wall Longitudinal Strain | UCUM, %, Percent | SRT, G-03A2, 2D mode |  | 99PMSBLUS, C12228-16, AutoStrain RV
Adult Echocardiography Procedure Report | Adult Echo | RV L Strain | Strain | meas | m_TT_RV_4C_LS | r_Strain | unilateral | 125200\C12204-28\C12228-16\G-03A2\T-32500 | SRT, T-32500, Right Ventricle | 99PMSBLUS, C12204-28, Right Ventricle Longitudinal Strain | UCUM, %, Percent | SRT, G-03A2, 2D mode |  | 99PMSBLUS, C12228-16, AutoStrain RV
Adult Echocardiography Procedure Report | Adult Echo | Volume(s) | RV EDV | meas | m_RVHM_Volume | r_TT_RV_EDV | unilateral | 125200\8822-3\C12228-13\P0-02242\R-FAB5C\T-32500 | SRT, T-32500, Right Ventricle | LN, 8822-3, Right Ventricular End Diastolic Volume | UCUM, mm3, mm3 | SRT, P0-02242, 3D mode | SRT, R-FAB5C, End Diastole | 99PMSBLUS, C12228-13, 3D AUTO RV
Adult Echocardiography Procedure Report | Adult Echo | Volume(s) | RV ESV | meas | m_RVHM_Volume | r_TT_RV_ESV | unilateral | 125200\109070\8824-5\C12228-13\P0-02242\T-32500 | SRT, T-32500, Right Ventricle | LN, 8824-5, Right Ventricular End Systolic Volume | UCUM, mm3, mm3 | SRT, P0-02242, 3D mode | DCM, 109070, End Systole | 99PMSBLUS, C12228-13, 3D AUTO RV